## Sheet1
Technology | LTLE | LTHE | HTLE | HTHE
Bio Oil HOBs | 250 | 134 | 249 | 133
Data Centre Heat Pumps | 7988 | 6655 | 6987 | 5821
Electric Boilers | 468 | 134 | 384 | 110
Low Temperature Sources Heat Pumps | 2590 | 1817 | 2098 | 1472
Sea Water Heat Pumps | 0 | 0 | 0 | 0
Sewage Treatment Heat Pumps | 439 | 314 | 363 | 260
Waste Incineration CHP | 8727 | 8692 | 8688 | 8653
Wood Chips CHP | 4717 | 3397 | 4742 | 3415